Final

Stormwater Management Plan

City of Appleton

Water Treatment Facility

2281 Manitowoc Road

Menasha, WI  54952

Prepared for the:

City of Appleton

100 N. Appleton Street

Appleton, WI  54911

Prepared by:

Earth Tech, Inc.

1020 N. Broadway, Suite 400

Milwaukee, WI  53202

June 2005

Updated January 4, 2017

(By The City of Appleton Utilities Department)

STORMWATER MANAGEMENT PLAN

CITY OF APPLETON

WATER TREATMENT FACILITY

2281 MANITOWOC ROAD

MENASHA, WI  54952

Prepared for:

City of Appleton

100 N. Appleton Street

Appleton, WI  54911

June 2005

Updated January 4, 2017

(By The City of Appleton Utilities Department)

TABLE OF CONTENTS

Page

STORMWATER MANAGEMENT PLAN VS. STORMWATER POLLUTION PREVENTION PLAN	1

STATEMENT OF CERTIFICATION	2

1.	introduction	1-1

1.1	Site Description	1-1

1.2	Regulatory Background	1-1

1.3	Objectives and Scope of Stormwater Management Plan	1-1

1.4	Stormwater Pollution Prevention Responsibility	1-2

1.5	Plan Availability	1-2

1.6	Plan Compliance and Modifications	1-2

1.7	Previously Developed Stormwater Management Plans	1-3

2.	Stormwater pollution prevention team	2-1

2.1	Team Coordinator	2-2

2.2	Team Members	2-2

3.	potential contamination sources and risk identification	3-1

3.1	Initial Site Evaluation Summary	3-1

3.2	Stormwater Drainage and Outfalls	3-1

3.3	Areas of Potential Stormwater Contamination	3-3

3.3.1	Asphalt or Concrete Drives and Parking Areas	3-3

3.3.2	Chemical Loading Areas	3-3

3.3.3	Refuse and Recycling Containers	3-3

3.4	Materials Inventory	3-4

3.5	Historical Leaks and Spills	3-4

4.	non-stormwater discharges	4-1

5.	BEST MANAGEMENT PRACTICES	5-1

5.1	Objective	5-1

5.2	Measures and Controls	5-1

5.2.1	Existing Management Practices	5-1

5.2.2	Proposed Best Management Practices (Updated to Existing BMPs)	5-2

5.3	Best Management Practices Implementation	5-2

5.4	Prohibited Activities	5-2

5.5	Residual Pollutants Expected to Remain in Stormwater	5-3

6.	inspections and recordkeeping	6-1

6.1	Quarterly Visual Stormwater Inspections	6-1

6.2	Annual Site Inspection	6-1

6.3	Semi-Annual Dry Weather Inspection	6-1

6.4	Spill Management and Documentation	6-1

6.5	Annual Stormwater Sampling and Testing	6-2

6.6	SWMP Updates or Revisions	6-2

6.7	Employee Training Requirements	6-2

6.8	Preventive Maintenance	6-2

6.9	Implementation Schedule	6-3

7.	references	7-1

LIST OF TABLES

Table 	Page

1	Stormwater Management Team	2-1

2	Stormwater Areas and Activity Inventory	3-2

3	Significant Materials Inventory	3-4

4	Recommended Best Management Practices	5-4

LIST OF FIGURES

Figure

- Site Location Map

2	Site Plan and Drainage Map

LIST OF APPENDICES

Appendix

A	Stormwater Permit

B	Blank Checklists and Forms

Quarterly Visual Stormwater Inspection

Non-Stormwater Discharges

Annual Site Inspection Checklist

Spill Documentation Form

Employee Training Record

C	Completed Checklists and Forms

D	WDNR Fact Sheet Defining Reportable Spills

# STORMWATER MANAGEMENT PLAN VS. STORMWATER POLLUTION PREVENTION PLAN

Under NR 216 the City of Appleton Water Treatment Facility is not required to obtain an Industrial Stormwater Permit and, therefore, a Stormwater Pollution Prevention Plan (SWPPP) is not required.  The City of Appleton will receive a Municipal Stormwater Permit under NR 216.02, because it is a listed "urbanized area".  One of the NR 216 permit requirements is a stormwater pollution prevention program for management of municipal garages, storage areas, and other municipal sources of pollution (NR 216.07(6)(a)4).  This report is the stormwater pollution prevention program for the Water Treatment Facility and is formatted and written as if it was a SWPPP.  If, in the future, the Wisconsin Department of Natural Resources (WDNR) requires the Water Treatment Facility to obtain an Industrial Stormwater Permit, this document can be converted into a SWPPP with minimal revisions.

# STATEMENT OF CERTIFICATION

According to NR 216.29(8), all reports required under this subchapter require signature.  The following "Statement of Certification" is identical to the statement on WDNR Form 3400-167 "Stormwater Management Plan Summary".

“I certify under penalty of law that this document and attachments were prepared under my direction or supervision in accordance with a system designed to ensure that qualified personnel properly gathered and evaluated the information contained in the Plan.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information in this document is, to the best of my knowledge and belief, true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.  In addition, I certify under penalty of law that, based upon inquiry of persons directly under my supervision, to the best of my knowledge and belief, the provisions of this document adhere to the provisions of the Stormwater Permit for development and implementation of a Stormwater Management Plan and that the Plan will be complied with.”

Authorized Signature:

Chris Shaw

Utilities Director

City of Appleton

2006 East Newberry Street

Appleton, Wisconsin 54911

Note:		This form is only required for an "Industrial Stormwater Permit”.

# introduction

## Site Description

The Appleton Water Treatment Facility (WTF) is located at 2281 Manitowoc Road, Menasha, Wisconsin, in the S 1/2 of Section 7 of Township 20 North, Range 18 East, Calumet County, Wisconsin.  The WTF is south of Manitowoc Road, approximately ½ mile east of Oneida Street (U.S. Highway 10).  The location of the WTF is shown on Figure 1.  The WTF is bounded by Manitowoc Road to the north, residential areas to the east and west, and undeveloped property to the south.  The majority of the stormwater runoff from the WTF is conveyed via overland flow or piped to a detention basin located near the southeast corner of the property.  The entire WTF Site, including the detention basin, encompasses approximately 22 acres.  The WTF layout is shown on Figure 2.

## Regulatory Background

The United States Environmental Protection Agency (USEPA) developed the stormwater regulatory program through the authority of the Clean Water Act amendments of 1987, to reduce discharges of contaminated stormwater associated with industrial facilities.  The National Pollutant Discharge Elimination System (NPDES) program is the means that the USEPA regulates discharges of potentially contaminated wastewater and stormwater into Waters of the United States through the issuance of permits applicable to specific sources.

The Federal Clean Water Act of 1972 and rules adopted by the USEPA require permits for stormwater discharges where precipitation or stormwater runoff come into contact with contaminants through industrial activity, at construction sites, or from municipal areas.  The philosophy for implementing the permit requirements emphasizes pollution prevention, which provides substantial environmental benefit with minimum regulatory burden.

In Wisconsin, the Department of Natural Resources (WDNR) is the permitting authority for the stormwater NPDES program.  Stormwater regulations are in chapter NR 216 of the Wisconsin Administrative Code.  All code references cited in this Stormwater Management Plan refer to the current NR 216 code, dated July 2004, effective August 1, 2004.

The City of Appleton will receive a Municipal Stormwater Permit under NR 216.02, because it is a listed "urbanized area".  One of the permit requirements will be to develop a Stormwater Pollution Prevention Program for management of municipal garages, storage areas, and other municipal sources of pollution (NR 216.07(6)(a)4).

## Objectives and Scope of Stormwater Management Plan

This Stormwater Management Plan (SWMP) identifies potential sources of stormwater contamination, response and preventive measures utilized to reduce the risk of stormwater contamination, and ongoing management practices designed to prevent stormwater pollution at the subject facility.  The SWMP focuses on two major objectives:  (1) the identification of site activities that are potential sources of stormwater pollution, and (2) the identification of practices that minimize and control pollutants in stormwater runoff.

The scope of this Plan includes:

Identifying Stormwater Team Coordinator and Team Members

Descriptions and maps showing applicable site features

An inventory of equipment used or stored at the facility

A description of exposed significant material

A list of significant spills and leaks over the last 3 years

A list of pollutant sources

A description of current and proposed Best Management Practices (BMPs)

Implementation schedule for BMPs

Employee training documentation

A description of site compliance and monitoring

Recordkeeping and internal reporting requirements

## Stormwater Pollution Prevention Responsibility

The Acting Director of Utilities, listed below, is responsible for all aspects of stormwater management at the WTF, including revisions to the SWMP.

Chris Shaw

Acting Utilities Director

City of Appleton

2006 East Newberry Street

Appleton, Wisconsin 54911

(920) 832-2362

A Stormwater Pollution Prevention Team is responsible for implementation of this SWMP.  Team members are listed on Table 1 and described in Section 2.0 of this Plan.

## Plan Availability

A copy of this SWMP will be maintained at the WTF at all times and will be made available to USEPA and WDNR representatives at their request.  A copy will also be kept at the City of Appleton’s Engineering Department.

## Plan Compliance and Modifications

This SWMP will be updated and amended whenever there is a change in design, construction, operation, or maintenance that may impact the potential for pollutants to be discharged through stormwater.  This SWMP also should be revised in accordance with the findings and recommendations of the annual Comprehensive Site Compliance Evaluation.  In addition, if this SWMP is found to be ineffective in controlling the discharge of pollutants, the SWMP will be amended to correct the identified deficiencies.

If the WDNR provides notification that the SWMP does not meet the minimum requirements of an Industrial Stormwater Permit or NR 216 Municipal Permit, then the SWMP will be modified.

## Previously Developed Stormwater Management Plans

Certain other environmental management plans may contain provisions for managing stormwater.  In some cases, it may be possible to build on elements of these plans that are relevant to stormwater pollution prevention.

No other stormwater management plans were developed for the WTF to date.

# Stormwater pollution prevention team

The stormwater pollution prevention team consists of a team coordinator and team members who are assigned various responsibilities for implementing the SWMP.  Implementation of this SWMP includes ongoing assessment of potential sources of contamination and associated BMPs, response to spill events, if any, employee training, and the annual plan evaluation.  The current team roster is provided in Table 1.

TABLE 1

Stormwater POLLUTION PREVENTION TEAM

WATER TREATMENT FACILITY

APPLETON, WISCONSIN

Updated January 4, 2017 by Appleton Utilities Dept.

The following individuals make up the stormwater pollution prevention team for the Appleton Water Treatment Facility, City of Appleton, Wisconsin.  Each member has specific responsibilities in maintaining and implementing the Stormwater Management Plan.  Individuals may have more than one responsibility.

| Responsibility | Name | Phone Number |
| --- | --- | --- |
| Team Coordinator | Brian Kreski | 920-832-2316 |
| Primary Emergency Contact (7:00am - 3:00pm) | Brian Kreski | 920-832-2316 |
| Secondary Emergency Contact (7:00am - 3:00pm) | Mike Suha | 920-832-2356 |
| Authorized Signature | Chis Shaw | 920-832-2362 |
| Plan Implementation | Chris Shaw | 920-832-2362 |
| Plan Revision | Brian Kreski | 920-832-2316 |
| Employee Training | Brian Kreski | 920-832-2316 |
| Inspections | Brian Kreski | 920-832-2316 |
| Preventive Maintenance | Brian Kreski | 920-832-2316 |
| Spill Response | Brian Kreski | 920-832-2316 |
| Emergency Calls – After Hours (3:00 pm – 7:00 am M-F; All day Sat. & Sun.) | Mactel Operator on Duty | 920-730-3004 920-997-4211 |

## Team Coordinator

The stormwater pollution prevention coordinator has the ongoing responsibility for implementation of this SWMP.  Specifically, this includes implementation of inspection schedules, records preservation, coordinating responses to spill emergencies, employee training, and annual updates to the SWMP, if required.  The team coordinator serves as a point of contact for facility personnel and for those outside the facility (such as regulatory officials) who may wish to discuss aspects of the SWMP or to obtain other information.  The coordinator oversees the re-evaluation and modification of the SWMP annually and following a potential major spill event.  These modifications may include relocation or alteration of material storage or handling areas, BMP revisions, altering drainage patterns, addition of structural control measures, or documentation of significant leak or spill events.  The coordinator must be familiar with all phases of facility operation to evaluate potential sources of pollution during implementation and periodic reevaluation of the SWMP.

If a new team coordinator is assigned, the City of Appleton’s Utilities Director will make that selection.

## Team Members

Members of the team have the responsibility for conducting inspections, implementing and maintaining BMPs, conducting annual employee training and new employee training, and responding to spill events, if any.  Pollution prevention team members will meet with the coordinator annually and following spill events to re-evaluate and modify the SWMP as needed.  If individual team members must be replaced, equally qualified personnel will be assigned by the team coordinator to assume the previous member’s responsibilities.  If this cannot be accomplished immediately, the current team members will be assigned to those responsibilities during the interim.

# potential contamination sources and risk identification

## Initial Site Evaluation Summary

The site evaluation includes an assessment of potential pollutant sources to determine areas, activities, and materials that may contribute pollutants to stormwater runoff.  The evaluation determines the necessity for BMPs and helps guide the selection of the most appropriate BMPs to prevent or control pollutants from these areas, activities, and materials.

Earth Tech, Inc. (Earth Tech) conducted an initial site evaluation on September 29, 2003, and a subsequent visit was made on July 28, 2004.  No equipment or materials are stored outside.  The parking areas, driveways and loading areas are concrete or asphalt paved.  The grassed areas of the WTF are well maintained to prevent erosion and filter stormwater.  The majority of the site stormwater is routed via piping or overland flow to a detention basin located southeast of the WTF.  Roof runoff is via internal roof drains directly to the storm sewer or downspouts discharging to grade (grass or gravel).

No staining, pools, puddles, or other evidence of oils, greases, or other chemicals were observed on the facility surface, except for some iron staining of pavement at the east chemical loading area.

Earth Tech identified areas potentially exposed to stormwater based upon stormwater flow and area usage. These areas are:

Asphalt Drives and Parking Areas

Chemical Loading Areas

Refuse and Recycling Containers

## Stormwater Drainage and Outfalls

The WTF property is a total of approximately 22 acres (Figure 2).

There are seven stormwater drainage basins at the WTF.  Figure 2 identifies the drainage basins, overland flow patterns, buildings, drainage structures, surface material, and site use.  Table 2 lists the drainage basins and the corresponding areas, activities, uses and impervious area.

Basin 1 includes runoff from the north half of the entrance driveway.  Runoff flows overland to Manitowoc Road.

Basin 2 includes a small grassy area at the southwest corner of the Site.  Flow from this area does not enter the detention basin, but flows overland to the west, or infiltrates into the soil or sheet flows off-site.  There are no activities or material storage in the basin, and minimal potential for stormwater pollution.

Basin 3 includes runoff from the asphalt drive east of the building and the chemical loading area.  Runoff flows across pavement to a grassed swale, and then flows into the detention basin.  Iron stains are visible on the pavement in the chemical loading area.

Basin 4 includes runoff from the asphalt drive east of the building, part of the building roof, and the east half of the parking lot.  Runoff flows overland to stormwater inlets and then via storm sewer to the detention basin and Outfall 1.

Basin 5 includes roof runoff from the southwest corner f the building; asphalt and concrete south of the building; and grassy areas.  Runoff flows to a series of stormwater inlets and then via storm sewer to Outfall 1.  Flow from this basin does not enter the dry detention basin.

Basin 6 includes roof runoff from the west half of the building; asphalt and concrete drives north and west, of the building; a chemical loading area; and the refuse and recycling containers.  Runoff flows to a series of stormwater inlets and then via storm sewer to the dry detention basin and Outfall 1.

Basin 7 includes runoff from pervious areas southeast of the detention pond.  Runoff sheet flows across vegetated areas to the south, away from the WTF.

The stormwater detention basin outfalls via storm sewer to the south of the Site (Outfall 1).

TABLE 2

Stormwater AREAS AND ACTIVITY INVENTORY

WATER TREATMENT FACILITY

APPLETON, WISCONSIN

| Area ID. | Area | Percent Impervious | Uses |
| --- | --- | --- | --- |
| 1 | 2,600 sq ft (0.1 acres) | 100 % | Entrance drive. |
| 2 | 19,000 sq ft (0.4 acres) | 0 % | No activities, grassed area. |
| 3 | 366,700 sq ft (8.4 acres) | 10% | Driveway, chemical loading area east of building, grassed areas. |
| 4 | 98,200 sq ft (2.3 acres) | 70% | Parking lot, lawn and driveways. |
| 5 | 160,800 sq ft (3.7 acres) | 60% | Parking lot, driveways, lawn, chemical loading area west of building, refuse and recycling containers. |
| 6 | 292,600 sq ft (6.7 acres) | 30% | Driveways and grassy areas. |
| 7 | 36,500 sq ft (0.8 acres) | 0% | No activities, grassed area. |

## Areas of Potential Stormwater Contamination

### Asphalt or Concrete Drives and Parking Areas

Asphalt-paved or concrete-paved drives and parking areas are present in most of the drainage areas at the WTF (see Figure 2).  The majority of the stormwater runoff flows either overland or via storm sewer to the detention basin.

Inventory of Exposed Materials/Risk Identification

Equipment and vehicles in these areas are exposed to precipitation.  Traffic includes customer, vendor, and employee vehicles.

These areas have the potential to contribute solids, salt, and oil and grease from vehicles that may leak during transit, as well as from parked vehicles and equipment.

Potential pollutant parameters:  Total Suspended Solids (TSS), Total Dissolved Solids (TDS), Total Oil and Grease (TOG), and chlorides.

### Chemical Loading Areas

There are two areas at the WTF for trucks to deliver treatment chemicals to indoor chemical storage tanks via outside fill ports.  One loading area is adjacent to the west side of the building.  Surface drainage flows across the pavement to stormwater inlets and then via pipe to the detention basin.  A second chemical loading area is adjacent to the east side of the building.  Surface drainage flows across pavement onto the grass, and then overland into the detention basin.

Inventory of Exposed Materials/Risk Identification

The chemical fill ports are located outside.

The presence of chemical delivery vehicles and filling of the storage tanks has the potential for spills of chemicals onto the pavement.

The potential exists for a spill to flow across the pavement to the swale east of the building or the storm sewer inlets west of the building, and then into the detention basin.

Potential pollutant parameters:  TSS, TDS, Sodium Hydroxide, Sodium Hypochlorite, Hydrofluoric Acid, Ferric Sulfate, Ammonia, Phosphate, pH.

### Refuse and Recycling Containers

Description

The refuse and recycling containers are located west of the building in Basin 6.  The recycling area contains recycling bins for plastics, metals, and other recyclable materials.  This entire area is paved.  Stormwater runoff sheet flows on the asphalt to the north and west onto vegetated areas where the stormwater either infiltrates, or continues by sheet flow to the detention pond in the southeast corner of the property.

Inventory of Exposed Materials/Risk Identification

Some of the refuse and recycling containers are exposed to precipitation.

Potential pollutant parameters:  TSS, TDS, pH, and TOG.

## Materials Inventory

Materials that are managed at this facility with potential to contribute to stormwater pollution are itemized in Table 3.  These materials are identified by the material description, use, location, approximate quantity of material used, containment methods, and likelihood of exposure to stormwater.

TABLE 3

MATERIALS INVENTORY

WATER TREATMENT FACILITY

APPLETON, WISCONSIN

| Material Description | Material Use | Location | Approximate Quantity | Containment Methods | Likelihood of Exposure to Stormwater |
| --- | --- | --- | --- | --- | --- |
| Refuse and Recycling Containers | Refuse and Recyclable Material Collection | On Pavement West of Building in Basin 6 | Up to 5 containers of various size | None | Likely, however, minimal impacts expected because containers are covered, and inspected daily. |
| Water Treatment Chemicals | Chemical Loading Area | Adjacent to Building in West: Basin 6 East: Basin 3 | None – All Chemical Storage Tanks Inside | None | Likely, however, minimal impacts because any spills are cleaned up immediately. |
| Water Treatment Plant Employee and Visitor Vehicles | Outside Parking | On Pavement in Basins 1, 3, 4 and 6 | Variable, up to 20 vehicles | None | Likely, however, minimal impacts expected because Utilities vehicles are kept clean and regularly inspected. |

## Historical Leaks and Spills

Based on information provided by City of Appleton, no reportable leaks or spills have occurred at the facility within the last 3 years.

# non-stormwater discharges

This facility is serviced by an on-site storm sewer system.  Earth Tech initially conducted evaluation for the presence of non-stormwater discharges, through on-site observations and discussion with site personnel on September 29, 2003.  There was no evidence of unauthorized stormwater or non-stormwater discharges during the site reconnaissance.

If this facility is required to obtain an Industrial Stormwater Permit under NR 216.21, a certification is required that the provisions of this SWMP (modified to a SWPPP) will be adhered to.  An authorized individual must sign the certification.  This certification includes an understanding that stormwater discharges from the Site have been tested or evaluated for the presence of non-stormwater discharges.

# BEST MANAGEMENT PRACTICES

## Objective

This section describes BMPs for general facility operations and for each of the potential areas of stormwater contamination.  The primary objective of BMPs is to prevent stormwater from coming into contact with source materials.  Wherever possible, sources will be removed or covered to eliminate stormwater contamination.  If source controls are inadequate, treatment practices may be recommended.

This section includes measures and controls taken to promote good housekeeping, runon/runoff management, and preventive maintenance.  Spill prevention techniques, inspections, employee training, and record keeping are addressed in separate sections of this SWMP.

## Measures and Controls

Activities and materials present at the WTF area that may cause potential impacts to stormwater discharges are listed in Section 3.3 and summarized on Table 3.

The City of Appleton understands that source control is the most effective way to reduce pollutants in stormwater.  Measures such as removing wastes, storing materials inside, and establishing a waste removal schedule that minimizes on-site storage have been implemented wherever possible.  A summary of existing and proposed control measures follows.

### Existing Management Practices

Existing Stormwater Management Practices, that will be continued, include:

- Several areas of the property are maintained as grassed areas.  These areas serve as a filtering media for stormwater runoff.

- The amount of grass chemically treated for weeds is kept to a minimum.

- Vehicles and delivery trucks parked on the property are properly maintained so that they do not have leaks or contaminants exposed to rainfall.

- Chemical storage, piping, and dispersing systems are located inside of the building.

- The dumpsters and recycling containers are covered and the drains in all dumpsters are plugged.

- The Site is neatly maintained and good housekeeping standards are followed.

- Standard procedures for chemical deliveries include constant attendance and involve immediate cleanup and reporting of any spills.

### Proposed Best Management Practices (Updated to Existing BMPs)

Implementation of the following BMPs is recommended to prevent stormwater contamination:

E8.	Continue to maintain the existing management practices and good housekeeping standards.

E9.	Purchase spill kits for the two chemical loading areas, and store them at a location readily accessible to employees and drivers of the bulk chemical delivery trucks.  Provide spill prevention and containment training for employees responsible for spill response.

E10.	Conduct quarterly visual stormwater inspections and annual facility site inspections.  The quarterly visual inspection will consist of observing stormwater runoff from each of the outfalls identified in this SWMP, and from each area where activities have the potential to impact stormwater.

E11. Implement an employee-training program (Refer to Section 6.6).

E12.	Require chemical suppliers to provide spill plans for delivery and documentation of spill prevention training for drivers.

E13.	All spills shall be promptly cleaned up.  Clean-up may involve shoveling or sweeping the solids, or using commercial sorbent material to absorb liquid spills.  Any reportable spill must be reported to the WDNR, the Menasha Fire Department and Appleton's Director of Public Works.  A summary of Wisconsin Spill Reporting Requirements is included in Appendix D.

E14.	Use minimum amount of de-icing salt needed to maintain safe conditions.  Consider using a sand and salt mixture.

E15.	A fertilizer management plan, following NR 151 guidelines, will be developed for appropriate application of fertilizers and pesticides on the Site.

## Best Management Practices Implementation

The existing BMPs will continue to be followed and maintained.  If future changes in operational activities at the Site require the implementation of additional BMPs, this Plan will be modified accordingly.

The existing and proposed BMPs are outlined in Table 4.

## Prohibited Activities

The following are prohibited activities:

Spraying or applying liquids onto pavements or gravel areas of the facility where they would discharge along with stormwater.

Washing or maintaining vehicles outside.

The cleaning of spills by flushing with water.  Spills should be cleaned up by using absorbent material or sweeping.

## Residual Pollutants Expected to Remain in Stormwater

Based on current operations at the subject site and the anticipated implementation of the BMPs, low concentrations of residual pollutants that are expected to remain in stormwater include oil and grease from employee/visitor parking areas, salt from de-icing drives and sidewalks, and residual chemicals from the loading areas and filling operation.  Implementation of this SWMP and the BMPs are believed to be adequate to minimize pollutants in the facility’s stormwater runoff.

TABLE 4

RECOMMENDED BEST MANAGEMENT PRACTICES

WATER TREATMENT FACILITY

MENASHA, WISCONSIN

| Status | Best Management Practices | Description of Activity |
| --- | --- | --- |
| Existing to be continued | E1, E2 | The amount of grass and/or brush treated with herbicide and fertilizer is kept to a minimum. A fertilizer management plan will be developed following state guidelines. |
| Existing to be continued | E6 | The WTF is neatly maintained. No items are regularly stored outdoors. |
| Existing to be continued | E5 | The dumpsters for refuse are tightly covered to properly protect from rainfall. Holes in the bottom of the dumpsters are plugged. Recycling bins are also covered. |
| Existing to be continued | E4 | Chemical storage, piping, and dispersing systems are located inside the building |
| Existing to be continued | E3, E8 | Adjust deicer usage in accordance with activities. Sweep accumulations of sediment as needed. Any observed leak or spill will be contained, cleaned up, and responded to promptly. |
| Existing to be continued | E7 | SOPS are followed for loading chemical products to the storage tanks to minimize the potential for spills. |
| Existing to be continued | E8 | Maintain existing BMPs and good housekeeping standards. |
| Existing to be continued | P2 | Purchase spill kits and store at locations readily accessible to employees and drivers of the bulk chemical delivery trucks. Replenish spill supplies as needed. |
| Existing to be continued | E12 | Require chemical suppliers to provide spill plans for delivery and documentation of spill prevention training for drivers. |
| Existing to be continued | E14 | Use minimum amount of de-icing salt needed to maintain safe conditions. Consider using a sand and salt mixture. |
| Existing to be continued | E15 | A fertilizer management plan will be developed for the facility. |
| Existing to be continued | E10 | Property is routinely inspected. Quarterly and annual site evaluations will be performed. |
| Existing to be continued | E11 | Annual meetings will be held to address health, safety, and spill prevention and response. |
| Existing to be continued | E10, E13 | Records will be kept and maintained for spills, inspections, and maintenance activities. This SWMP will be updated any time there is a change in the potential for pollutants to enter stormwater, when pollution prevention practices change, or if the plan is ineffective in preventing stormwater pollution. Records will be retained for a period of 5 years. |

# inspections and recordkeeping

Quarterly inspections should be conducted to document that the provisions of this SWMP are being followed and to identify areas needing improvement, if any.  Deficiencies revealed during inspection procedures that require further action, such as purchasing or replacing equipment, should be communicated to the SWMP team coordinator.  Blank forms are located in Appendix B and completed forms are placed in Appendix C.  Inspection records should be retained for a period of at least 5 years.

## Quarterly Visual Stormwater Inspections

Each outfall should be inspected at least once every three months during a rainfall event.  Each inspection must be conducted within the first 30 minutes or as soon thereafter as practical, but not to exceed 60 minutes after runoff begins discharging to an outfall or leaving the property.  The inspections should be documented, and include observations of color, odor, clarity, floating solids, foam, oil sheen, or other obvious indicators of stormwater pollution.

## Annual Site Inspection

A comprehensive annual site compliance inspection of the facility and property should be performed.  These inspections will be used to verify that the site drainage conditions and potential pollutant sources identified in the SWMP remain accurate, and that the BMPs prescribed in the SWMP are being implemented.  The findings from the annual inspection should be documented.  An annual inspection checklist is included in Appendix B.  Based on the findings from these inspections, the WTF’s SWMP may need to be revised.

## Semi-Annual Dry Weather Inspection

Semi-annual visual observations, during dry weather, should be completed at each outfall of the storm sewer collection system.  Observations should be made at times when non-stormwater discharges from the facility are considered most likely to occur (i.e., periods of dry weather during normal working hours). Indications of stains, sludges, color, odor, or other indications of a non-stormwater discharge should be recorded on the Non-Stormwater Discharge Assessment and Certification form in Appendix B.

## Spill Management and Documentation

Should a spill occur in an area on the property that could be exposed to stormwater, the spill must be cleaned up immediately.  If the spill is reportable, it must be reported to the Appleton Public Works Department, the WDNR, and both the Menasha and Appleton Fire Departments.  A record should be kept of all spills, and should include the following:

Date and time of the incident

Substance spilled

Volume spilled

Weather conditions

Duration of the incident

Cause of the incident

Response procedures

Parties notified

Amount of spilled material recovered and recovery method

A spill documentation form is enclosed and can be used to record the pertinent data that must be documented whenever a spill occurs.  A brief WDNR fact sheet providing definition for a reportable spill is included in Appendix D.

## Annual Stormwater Sampling and Testing

The City of Appleton is not required to perform stormwater sampling at the WTF.

## SWMP Updates or Revisions

The WTF must amend this SWMP whenever there is a change in pollution prevention team personnel, design, construction, or operation that may impact the potential for pollutants to come into contact with stormwater; or if the SWMP proves to be ineffective in controlling the discharge of pollutants.

## Employee Training Requirements

To effectively implement the SWMP, employees must be adequately trained.  The goal of the training program is to teach personnel the components and goals of the Pollution Prevention Plan.  Properly trained personnel can recognize situations that could contaminate stormwater and can respond safely and effectively to an accident.  The employee-training program should cover topics such as:

Spill prevention and response

Good housekeeping

Material management practices

All employees should be trained at least annually.  Training frequency should be determined based upon the complexity of stored materials, stormwater management practices, staff turnover, and changes in job assignments at the facility.  Training effectiveness should be evaluated to ensure information has been effectively communicated.  An employee training record is included in Appendix B.

## Preventive Maintenance

The lawn areas and the condition of the refuse containers should be examined during the quarterly visual stormwater inspections and any needed repairs should be made promptly.  The contents of the spill kit should be checked during the quarterly inspections and after each use.  Spill equipment should be replaced as needed.

## Implementation Schedule

According to the draft “General Permit to Discharge Under the WPDES Permit No. WI-S050075-1,” municipal permit holders have up to 30 months to fully develop and implement pollution prevention plans for municipal-owned facilities such as the WTF.

# references

United States Environmental Protection Agency, Stormwater Management for Industrial Activities - Developing Pollution Prevention Plans and Best Management Practices, September 1992.  EPA 832-R-92-006.

Wisconsin Department of Natural Resources, The Wisconsin Stormwater Manual, Bureau of Water Resource Management, Non-point Source and Land Management Section, Publication Number:  WR-349-94.

Wisconsin Department of Natural Resources, Wisconsin’s Guidance for Industrial Stormwater Sampling, Bureau of Wastewater Management, Municipal Wastewater Section - Stormwater Unit, September 1994.

U.S. Department of Labor, Occupational Safety and Health Administration, "Standard Industrial Code Manual", 1987.

FIGURES

Appendix A

DRAFT MUNICIPAL STORMWATER PERMIT

Appendix B

BLANK CHECKLISTS AND FORMS

Appendix C

COMPLETED CHECKLISTS AND FORMS

Appendix D

WDNR FACT SHEET

DEFINING REPORTABLE SPILLS